## Test Sheet
Date: Issued by:
High Resolution Spectrometer |  |  |  |  | HRS Response vs Freq
F [MHz] | HRS Psat [dBm] | HRS Resolution [ ] | V1 [V] (0.1V/Div) | V2 [V] (0.1V/Div) | Ampl vs Freq [V] | Ampl vs Freq [dB] 10LOG(value/max)
85
90
95
100
105
110
115
120
125
130
135
140
145
150
155
160
165
Resolution = V1 / V2. V1 and V2 are measured with 0.1 Volts / Division
HRS Response: P input is constant over frequency = _____________dBm

## MeasData
2000-02-25 / Michel Anciaux |  |  |  |  | 2001-05-26 / Mikael Lager |  |  |  |  | 2001-08-05:1 / Mikael Lager
High Resolution Spectrometer |  |  |  |  | High Resolution Spectrometer |  |  |  |  | High Resolution Spectrometer
F [MHz] | HRS Psat [dBm] | HRS Resolution [ ] | V1 [0.1V] | V2 [0.1V] | F [MHz] | HRS Psat [dBm] | HRS Resolution [ ] | V1 [0.1V] | V2 [0.1V] | F [MHz] | HRS Psat [dBm] | HRS Resolution [ ] | V1 [0.1V] | V2 [0.1V]
85 | -12.6 | 3.1667 | 3.8 | 1.2 | 85 | -10.9 | 3.0714 | 4.3 | 1.4 | 85 | -11 | 3 | 5.1 | 1.7
90 | -12.7 | 3.0714 | 4.3 | 1.4 | 90 | -10.9 | 3.0625 | 4.9 | 1.6 | 90 | -11 | 3.0526 | 5.8 | 1.9
95 | -13.7 | 3.0833 | 3.7 | 1.2 | 95 | -12 | 3.0714 | 4.3 | 1.4 | 95 | -12.2 | 2.9412 | 5 | 1.7
100 | -13.7 | 3.3077 | 4.3 | 1.3 | 100 | -12 | 3 | 4.8 | 1.6 | 100 | -12.2 | 2.9474 | 5.6 | 1.9
105 | -13.8 | 3.2857 | 4.6 | 1.4 | 105 | -12 | 2.8824 | 4.9 | 1.7 | 105 | -12.2 | 2.9 | 5.8 | 2
110 | -14.8 | 3.3913 | 3.9 | 1.15 | 110 | -12 | 2.8889 | 5.2 | 1.8 | 110 | -13.3 | 2.8824 | 4.9 | 1.7
115 | -14.8 | 3.4545 | 3.8 | 1.1 | 115 | -13 | 2.9286 | 4.1 | 1.4 | 115 | -13.3 | 2.8824 | 4.9 | 1.7
120 | -14.9 | 3.2727 | 3.6 | 1.1 | 120 | -12.1 | 2.6667 | 4.8 | 1.8 | 120 | -12.3 | 2.85 | 5.7 | 2
125 | -13.9 | 3.3077 | 4.3 | 1.3 | 125 | -13.1 | 2.8235 | 4.8 | 1.7 | 125 | -13.3 | 2.875 | 4.6 | 1.6
130 | -13.9 | 3.25 | 3.9 | 1.2 | 130 | -11 | 2.8 | 5.6 | 2 | 130 | -12.3 | 2.7368 | 5.2 | 1.9
135 | -13.9 | 3.2174 | 3.7 | 1.15 | 135 | -11 | 2.6842 | 5.1 | 1.9 | 135 | -12.3 | 2.6667 | 4.8 | 1.8
140 | -13.9 | 3.1818 | 3.5 | 1.1 | 140 | -10 | 2.7619 | 5.8 | 2.1 | 140 | -11.4 | 2.5455 | 5.6 | 2.2
145 | -12.9 | 3.1538 | 4.1 | 1.3 | 145 | -10 | 2.7368 | 5.2 | 1.9 | 145 | -11.4 | 2.6316 | 5 | 1.9
150 | -11.9 | 3.0667 | 4.6 | 1.5 | 150 | -9 | 2.7143 | 5.7 | 2.1 | 150 | -10.4 | 2.7 | 5.4 | 2
155 | -11.8 | 3.1667 | 3.8 | 1.2 | 155 | -9 | 2.7222 | 4.9 | 1.8 | 155 | -9.4 | 2.5455 | 5.6 | 2.2
160 | -9.8 | 3.1034 | 4.5 | 1.45 | 160 | -7 | 2.5909 | 5.7 | 2.2 | 160 | -8.4 | 2.65 | 5.3 | 2
165 | -8.9 | 3.0769 | 4 | 1.3 | 165 | -6 | 2.7222 | 4.9 | 1.8 | 165 | -7.4 | 2.5556 | 4.6 | 1.8
Increased laser diode power.
Four clockwise turns on laser bias potentiometer
2001-08-05:2 / Mikael Lager
High Resolution Spectrometer
[10 empty] | F [MHz] | HRS Psat [dBm] | HRS Resolution [ ] | V1 [0.1V] | V2 [0.1V] | Ampl vs Freq | Temp vs Freq 10LOG(value/max)
[10 empty] | 85 | -11 | 3.125 | 5 | 1.6 | 5 | -1.9312
[10 empty] | 90 | -11 | 3.2222 | 5.8 | 1.8 | 5.8 | -1.2867
[10 empty] | 95 | -12.2 | 3.2667 | 4.9 | 1.5 | 6.2 | -0.99703
[10 empty] | 100 | -12.2 | 3.2353 | 5.5 | 1.7 | 6.9 | -0.53246
[10 empty] | 105 | -12.2 | 3.0526 | 5.8 | 1.9 | 7.4 | -0.22863
[10 empty] | 110 | -12.4 | 3.05 | 6.1 | 2 | 7.8 | 0
[10 empty] | 115 | -12.4 | 3 | 6 | 2 | 7.6 | -0.11281
[10 empty] | 120 | -12.5 | 3 | 5.7 | 1.9 | 7.3 | -0.28772
[10 empty] | 125 | -12.5 | 2.9474 | 5.6 | 1.9 | 7.2 | -0.34762
[10 empty] | 130 | -12.5 | 2.9444 | 5.3 | 1.8 | 6.7 | -0.6602
[10 empty] | 135 | -12.5 | 2.8824 | 4.9 | 1.7 | 6.3 | -0.92754
[10 empty] | 140 | -11.5 | 2.7143 | 5.7 | 2.1 | 5.9 | -1.2124
[10 empty] | 145 | -11.5 | 2.8333 | 5.1 | 1.8 | 5.3 | -1.6782
[10 empty] | 150 | -10.5 | 2.75 | 5.5 | 2 | 4.5 | -2.3888
[10 empty] | 155 | -9.5 | 2.8 | 5.6 | 2 | 3.7 | -3.2389
[10 empty] | 160 | -8.5 | 2.8421 | 5.4 | 1.9 | 2.8 | -4.4494
[10 empty] | 165 | -6.5 | 2.8095 | 5.9 | 2.1 | 1.9 | -6.1334
Increased laser diode power.
Four clockwise turns on laser bias potentiometer. About 21mW of laser power.
Opened slightly the shutter in front of the laser diode
Date: Issued by:
[10 empty] | High Resolution Spectrometer |  |  |  |  | HRS Response vs Freq
[10 empty] | F [MHz] | HRS Psat [dBm] | HRS Resolution [ ] | V1 [0.1V] | V2 [0.1V] | Ampl vs Freq | Temp vs Freq 10LOG(value/max)
[10 empty] | 85 | -11.4 | 3.1111 | 5.6 | 1.8 | 3.8 | -2.0555
[10 empty] | 90 | -12.4 | 3.5333 | 5.3 | 1.5 | 4.4 | -1.4188
[10 empty] | 95 | -12.5 | 3.4118 | 5.8 | 1.7 | 4.8 | -1.0409
[10 empty] | 100 | -13.5 | 3.5333 | 5.3 | 1.5 | 5.5 | -0.44967
[10 empty] | 105 | -13.5 | 3.5 | 5.6 | 1.6 | 5.9 | -0.14478
[10 empty] | 110 | -13.6 | 3.4118 | 5.8 | 1.7 | 6.1 | 0
[10 empty] | 115 | -13.6 | 3.625 | 5.8 | 1.6 | 6 | -0.071786
[10 empty] | 120 | -13.6 | 3.375 | 5.4 | 1.6 | 5.7 | -0.29455
[10 empty] | 125 | -13.6 | 3.25 | 5.2 | 1.6 | 5.5 | -0.44967
[10 empty] | 130 | -12.6 | 3.3889 | 6.1 | 1.8 | 5.1 | -0.7776
[10 empty] | 135 | -12.6 | 3.2778 | 5.9 | 1.8 | 4.9 | -0.95134
[10 empty] | 140 | -12.6 | 3.25 | 5.2 | 1.6 | 4.4 | -1.4188
[10 empty] | 145 | -11.7 | 3.2222 | 5.8 | 1.8 | 3.9 | -1.9427
[10 empty] | 150 | -10.7 | 3.2632 | 6.2 | 1.9 | 3.3 | -2.6682
[10 empty] | 155 | -10.7 | 3.1875 | 5.1 | 1.6 | 2.7 | -3.5397
[10 empty] | 160 | -8.6 | 3.2778 | 5.9 | 1.8 | 2 | -4.843
[10 empty] | 165 | -7.7 | 2.9412 | 5 | 1.7 | 1.3 | -6.7139
Resolution = V1 / V2